V7

Advanced Height Gauge for the Workshop

V3

V4

V5

V6

V9

| 1. PRESENTATION E D F The V7 height gauges combine technological innovation and tradition. With their touch-display and lateral insert holders, which have proven their worth for decades, the V7 rank as universal instruments for the workshop. In spite of an entirely revisited interface, Trimos instruments philosophy has been maintained and the user will have no difficulty whatsoever to rapidly take it in hand. The touch display allows a maximal simplified use as no superfluous information is displayed and therefore the number of functions buttons is limited to what is strictly necessary. Functions normally considered as complex, such as 2D, programming, statistics, become child’s play. It results in an unequalled ease of use and therefore a substantial increase in productivity. The pair of lateral insert holders comes from generations of instruments that have forged the reputation of Trimos. Their great robustness and flexibility allow the use of very diverse probes up to 400 mm long with a breath- taking repeatability. The V7 are equipped with the revolutionary displacement handwheel allowing the user to choose either the manual or motorized displacement mode.. - Measuring ranges 400 to 1800 mm - Simple and easy-to-use graphic interface - Electronically adjustable measuring force - Manual or motorized displacement - 2D, programming, statistics - Large range of accessories - All possible adjustments without tools - Interfaces RS23, USB - Wireless data transfer (optional) | A : Adjustable touch-display with intuitive functions B : Handwheel for measuring carriage movement. Manual or motorized mode Manual Motorized C : Horizontal displacement handle with functions buttons and air cushion D : Additional probe holder E : Probe weight balance system F : Interchangeable insert and probe holder G : Cast iron base for optimal stability. C G B A |
| --- | --- |

2.

display / software

The tablet-type display and graphic interface corresponds to the most modern industrial standards. The great flexibility offered by the touch-display allows a quick and easy grasp.

VERY SIMPLE GRAPHIC INTERFACE

GRAPHIC HELP FOR MEASURements

2D MODE MEASUREMENT

MEASUring SEQUENCES

STATISTICAL ANALYSIS OF rEsultS

INTEGRATED ONLINE HELP

TEMPERATURE COMPENSATION

|  | SMART REVERSE: Diameter measurement faster, more accurate and simpler SmartReverse technology is the result of an intense collaboration between Trimos users and our R & D team in order to optimize diameter measurements. SmartReverse makes the measurement of diameters very efficient by clearly indicating the reversal points with audible and visual signals. The user is guided precisely during the measurement of diameters, which generates a significant gain in speed and reliability of the measurement. |
| --- | --- |

3.

TECHNICAL DATA

| V7 | 400 | 700 | 1100 | 1800 |
| --- | --- | --- | --- | --- |
| Measuring range mm (in) | 407 (16) | 711 (28) | 1110 (44) | 1810 (71) |
| Measuring range with extension mm (in) | 719 (28) | 1023 (40) | 1422 (56) | 2122 (83) |
| Max. permissible errors, BMPE µm | 2 + L(mm)/400 |  |  | 2.5 + L(mm)/300 |
| Repeatability, RMPE (2s) µm | 1 (Ø: 2) |  |  |  |
| Frontal perpendicularity, SMPE µm | 5 | 8 | 11 | 25 |
| Maximal Resolution mm (in) | 0.0001 (0.000005) |  |  |  |
| Measuring force N | 0.75 ÷ 1.5 |  |  |  |
| Autonomy h | 12 |  |  |  |
| Interfaces | USB / RS232 / Wireless |  |  |  |
| Air cushion | Yes |  |  |  |
| Weight kg | 22 | 25 | 34 | 41 |

The above values have been determined according to ISO 13225 with the standard measuring insert (TA-MI-101).

4.

APPLICATIONS

| Height, thickness, and sequential measurement | SMART REVERSE: Diameter measurement faster, more accurate and simpler | Perpendicularity measurement with lever indicator or electronic probe |
| --- | --- | --- |
| Probes up to 400 mm with excellent repeatability | Large range of accessories for each measuring application | Graphically assisted angles and cones measurement |
| Data transfer via USB, RS232, wireless or memory stick | Perfectly steady measuring force guaranteed by the motorization | 2D measurement with easy graphical interface |

Trimos S.A.

Av.de Longemalle 5

CH-1020 Renens

T. +41 21 633 01 01

info@trimos.ch

www.trimos.com					750 02 0054 03 – Version 1.3/2019-03 – Changes without prior notice